## PART B: BUIDLING CHECKLIST

This checklist is required to be completed for every Parish site.

Click or tap here to enter text.	Click or tap here to enter text.

[Parish]							[Site name]

| Item | Response | Comments ATTACHED yes/no |
| --- | --- | --- |
| 1. | Have all issues identified in the 2020 Building Reports been attended to? If not, please list what is outstanding and comment. | ☐ Yes ☐ No ☐ N/A | ☐ Yes ☐ No |
| 2. | Have the Guidelines for Inspection of Parish Buildings for Maintenance Purposes (attached) been effectively managed throughout the year and all checks completed during the past 12 months? | ☐ Yes ☐ No ☐ N/A | ☐ Yes ☐ No |
| 3. | How much has the parish spent on Building Maintenance in 2020? | $ Click or tap here to enter text. | ☐ Yes ☐ No |
| 4. | Have all issues identified in WHS checks (Parish Council Safety Delegate Reviews, Incident Reports, Property and Risk Officer Reports, Fire Audit, Hazardous Substances Reports) been addressed? | ☐ Yes ☐ No ☐ N/A | ☐ Yes ☐ No |
| 5. | Have any significant building works or maintenance been carried out in 2020 which has not previously been submitted to the Diocesan Property Services Unit or Property Committee, e.g. work valued over and $25,000? If “Yes” please provide details. | ☐ Yes ☐ No ☐ N/A | ☐ Yes ☐ No |
| 6. | Are any significant building works or maintenance scheduled for 2021 e.g. works valued over $25,000? If “Yes” please provide details. | ☐ Yes ☐ No ☐ N/A | ☐ Yes ☐ No |
| 7. | Are the Churchwardens aware of any outstanding issues or problems regarding parish property which requires investigation or rectification? If “Yes” please provide details. | ☐ Yes ☐ No ☐ N/A | ☐ Yes ☐ No |
| 8. | Have the annual pest inspections and treatments been carried out? Note: A copy of the inspection sheet from your pest service company is required to be attached to this return. | ☐ Yes ☐ No ☐ N/A | ☐ Pest Inspection reports attached |
| 9. | Has the 6 monthly fire certification been completed? Note: A copy of the inspection sheet from your fire service company is required to be attached to this return. | ☐ Yes ☐ No ☐ N/A | ☐ Fire Provider report and/or invoices attached |
| 10. | Is your Emergency Management Plan (EMP) current and are evacuation diagrams on display? (These are required for churches, halls, and parish offices) Note: if any part of the EMP has been amended since its initial issue a copy is required to be attached to this return. | ☐ Yes ☐ No ☐ N/A | ☐ Yes ☐ No |
| 11. | Have security arrangements for the Rectory been reviewed by the Parish delegates as per Section 6.1 of the Diocesan Handbook? | ☐ Yes ☐ No ☐ N/A | ☐ Yes ☐ No |
| 12. | Have security arrangements been reviewed and are they considered adequate for other parish buildings? | ☐ Yes ☐ No ☐ N/A | ☐ Yes ☐ No |
| 13. | Is external lighting adequate for people using the site for evening functions, activities or programs? | ☐ Yes ☐ No ☐ N/A | ☐ Yes ☐ No |
| 14. | Has all external lighting been checked to see if it is in working order on a regular basis? | ☐ Yes ☐ No ☐ N/A | ☐ Yes ☐ No |
| 15. | Have all timber structural posts that are installed directly into the ground been checked for signs of deterioration to the base or termite damage? | ☐ Yes ☐ No ☐ N/A | ☐ Yes ☐ No |
| 16. | Are all handrails structurally sound with no signs of deterioration? | ☐ Yes ☐ No ☐ N/A | Yes No |
| 17. | Is there any visible damage to the paint applied to external timber windows, doors and architraves? | ☐ Yes ☐ No ☐ N/A | ☐ Yes ☐ No |
| 18. | Is there any visible damage to the paint applied to external timber weather boards? | ☐ Yes ☐ No ☐ N/A | ☐ Yes ☐ No |
| 19. | Are there any uneven or damaged steps or stairs on site? NOTE: ‐ uneven or damaged steps or stairs are a high-risk trip hazard and must be repaired immediately. | ☐ Yes ☐ No ☐ N/A | ☐ Yes ☐ No |
| 20. | Are there any steps or stairs that are 1 metre or more above adjacent ground or floor levels that do not have a handrail? If “Yes” please provide details. | Yes No N/A | ☐ Yes ☐ No |
| 21. | Has all stored timber or timber debris been relocated or removed from areas against, under or around any of the properties on site? NOTE: Timber and timber products stored on ground or near buildings are a high termite risk. | ☐ Yes ☐ No ☐ N/A | ☐ Yes ☐ No |
| 22. | Are all services in and to your buildings in good working order i.e. no leaking internal or external taps and no damaged or leaking internal or external pipes that can be determined? NOTE: if your water bill has increased dramatically with no apparent increase in water use, or your water meter ticks over when you are not using any water you may have a broken or leaking pipe or tap. | ☐ Yes ☐ No ☐ N/A | ☐ Yes ☐ No |
| 23. | Are all vents to subfloor areas and any weep holes in between brickwork exposed and clear of vegetation or other? NOTE: it is vital to keep all ventilation devices clear from any obstacles which may reduce air flow under buildings. Blocked vents dramatically increase the risk of damage to structural timber due to increased condensation in the sub floor area. | ☐ Yes ☐ No ☐ N/A | ☐ Yes ☐ No |
| 24. | Have all hot water service overflows and any air conditioning overflows been diverted away from the side of any buildings? | ☐ Yes ☐ No ☐ N/A | ☐ Yes ☐ No |
| 25. | Is all stormwater coming from downpipes properly connected to the stormwater system? | ☐ Yes ☐ No ☐ N/A | ☐ Yes ☐ No |
| 26. | Has only termite treated timber been used to construct any garden beds, retaining walls or fence posts? If “no” please provide details and photographs. | ☐ Yes ☐ No ☐ N/A | ☐ Yes ☐ No |
| 27. | Have you made sure that there are no plants, trees or the like with an invasive root system growing against or near any buildings or structures? NOTE: Allow at least a 30cm clearance between the building and any plants to reduce the risk of termites entering the building. | ☐ Yes ☐ No ☐ N/A | ☐ Yes ☐ No |
| 28. | If any of your buildings have a “concrete slab on ground” construction, is there a minimum of 75mm of concrete slab edge exposed above the ground showing as per Australian Standards? NOTE: it is critical to keep the top of gardens and grassed areas below the concrete slab level to reduce the risk of termite access to internal timber elements. | ☐ Yes ☐ No ☐ N/A | ☐ Yes ☐ No |
| 29. | Are all external windows and doors to all buildings lockable? | ☐ Yes ☐ No ☐ N/A | ☐ Yes ☐ No |
| 30. | Is there a Key register for all keys to all buildings and is someone in charge of monitoring where the keys are being held? | ☐ Yes ☐ No ☐ N/A | ☐ Yes ☐ No |
| 31. | Are all garbage and clothing donation bins stored away from Parish buildings? NOTE: Due to vandalism and fires being lit in donation bins it is advised to keep Donation Bins away from Parish Buildings were possible. | ☐ Yes ☐ No ☐ N/A | ☐ Yes ☐ No |
| 32. | Have you made sure that there are no highly flammable liquids, chemicals or materials being stored in close proximity to any of the parish buildings? | ☐ Yes ☐ No ☐ N/A | ☐ Yes ☐ No |
| 33. | Does the parish run an Op Shop? If “Yes” please provide details of the address of the Op Shop. | ☐ Yes ☐ No ☐ N/A | ☐ Yes ☐ No |
| 34. | Does the Parish have property that is leased out on a regular/ongoing basis? | ☐ Yes ☐ No ☐ N/A | ☐ Yes ☐ No |
| 35. | If yes, what is the address/es of the listed Property? Please list below: Click or tap here to enter text. | ☐ N/A | ☐ Yes ☐ No |
| 36. | Are the properties listed above managed by a licenced Real Estate agent? | ☐ Yes ☐ No | ☐ Yes ☐ No |

^ Duplicate this document if additional Checklist are required for otherl sites.